## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-03-07
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 62.2 |  | 48.9 |  | 45.1 | 57.7
Low: |  | 27 |  | 24.6 |  | 37 | 42.3
Conditions: |  | Sunny |  | Sunny |  | Overcast | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 67442.5412 | 8 | 13430.1308 |  | 4368.7768 | 19253.59
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12294.0492 | 19 | 1908 |  | 799.1132 | 12410.79
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30207.2683 | 20 | 4737.35 |  | 2645.35 | 26408.05
Includes CFE, CISO & LDWP
WI TOTAL |  | 108112.7394 | 8 | 20346.8208 |  | 7444.5368 | 57596.43
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 68823 | 8 | 17931
SRSG |  | 12971 | 19 | 4525
CAMX* |  | 31859 | 19 | 5522
WI TOTAL |  | 112489 | 8 | 29005
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 48.9
Low (F) | 24.6
Sunny |  | 67442.5412 | 70.7% | 70.7% | 29.3% | 67,443 MW
|  | 12294.0492 | 49.58% | 49.58% | 50.42% | 12,294 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 52.5 | 30207.2683 | 57.43% | 57.43% | 42.57% | 30,207 MW
Low (F) | 37
Mist
Billings, MT
High (F) | 46.2
Low (F) | 24.1
Partly Cloudy
Loveland, CO
High (F) | 40.5
Low (F) | 29.5
Overcast
Los Angeles, CA
High (F) | 62.8
Low (F) | 46
Sunny
Phoenix, AZ
High (F) | 54.5
Low (F) | 46.4
Patchy rain nearby
Salt Lake City, UT
High (F) | 36
Low (F) | 29.7
Moderate or heavy snow showers
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
67,443 MW
12,294 MW
30,207 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend