## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-03-14
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 40.1 |  | 26.6 |  | 47.5 | 69.4
Low: |  | 35.6 |  | 18 |  | 36 | 61.7
Conditions: |  | Patchy rain nearby |  | Overcast |  | Overcast | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 68020.0815 | 8 | 15225.6126 |  | 4623.2906 | 18346.68
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12769.1479 | 20 | 1672 |  | 829.9946 | 12065.75
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30889.9553 | 9 | 4392.52 |  | 2753.52 | 29603.46
Includes CFE, CISO & LDWP
WI TOTAL |  | 110996.7171 | 8 | 21352.1226 |  | 7976.2406 | 59663.89
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 68068 | 7 | 17883
SRSG |  | 12977 | 18 | 4223
CAMX* |  | 31621 | 19 | 5451
WI TOTAL |  | 112025 | 19 | 26346
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 26.6
Low (F) | 18
Overcast |  | 68020.0815 | 71.31% | 71.31% | 28.69% | 68,020 MW
|  | 12769.1479 | 51.49% | 51.49% | 48.51% | 12,769 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 50.7 | 30889.9553 | 58.73% | 58.73% | 41.27% | 30,890 MW
Low (F) | 32.7
Moderate rain
Billings, MT
High (F) | 47.1
Low (F) | 30.4
Patchy rain nearby
Loveland, CO
High (F) | 53.2
Low (F) | 33.1
Overcast
Los Angeles, CA
High (F) | 57.2
Low (F) | 47.7
Moderate rain
Phoenix, AZ
High (F) | 55.9
Low (F) | 40.5
Patchy rain nearby
Salt Lake City, UT
High (F) | 37.9
Low (F) | 28.6
Moderate or heavy snow showers
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
68,020 MW
12,769 MW
30,890 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend