## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-03-17
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 49.6 |  | 45.3 |  | 42.4 | 73.8
Low: |  | 41.5 |  | 21.2 |  | 37.9 | 42.3
Conditions: |  | Heavy rain |  | Moderate or heavy snow showers |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 66621.5931 | 8 | 14923.66 |  | 4559.584 | 20791.6
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12836.927 | 20 | 1264 |  | 834.4003 | 10728.27
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30484.1871 | 21 | 4058.73 |  | 2634.73 | 29346.25
Includes CFE, CISO & LDWP
WI TOTAL |  | 109197.0031 | 20 | 20507.7741 |  | 7662.6051 | 60420.12
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 65387 | 19 | 16672
SRSG |  | 12604 | 19 | 3582
CAMX* |  | 28321 | 19 | 4515
WI TOTAL |  | 106312 | 19 | 24769
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 45.3
Low (F) | 21.2
Moderate or heavy snow showers |  | 66621.5931 | 69.84% | 69.84% | 30.16% | 66,622 MW
|  | 12836.927 | 51.77% | 51.77% | 48.23% | 12,837 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 49.1 | 30484.1871 | 57.96% | 57.96% | 42.04% | 30,484 MW
Low (F) | 38.5
Patchy rain nearby
Billings, MT
High (F) | 49.3
Low (F) | 32.9
Overcast
Loveland, CO
High (F) | 73.6
Low (F) | 29.1
Sunny
Los Angeles, CA
High (F) | 56.1
Low (F) | 50.4
Overcast
Phoenix, AZ
High (F) | 80.6
Low (F) | 52.5
Cloudy
Salt Lake City, UT
High (F) | 55.8
Low (F) | 33.6
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
66,622 MW
12,837 MW
30,484 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend