## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-03-18
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 53.8 |  | 35.2 |  | 44.4 | 79
Low: |  | 32.4 |  | 20.1 |  | 33.3 | 53.2
Conditions: |  | Mist |  | Overcast |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 67940.6542 | 8 | 15243.4946 |  | 4595.7086 | 19633.36
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12461.4178 | 20 | 1286 |  | 809.9922 | 11801.21
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30279.0778 | 21 | 4165.91 |  | 2639.91 | 30428.93
Includes CFE, CISO & LDWP
WI TOTAL |  | 109218.7737 | 8 | 21600.1546 |  | 7778.1586 | 61470.5
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 68202 | 8 | 17626
SRSG |  | 13318 | 10 | 5020
CAMX* |  | 30758 | 19 | 4727
WI TOTAL |  | 110113 | 7 | 24657
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 35.2
Low (F) | 20.1
Overcast |  | 67940.6542 | 71.22% | 71.22% | 28.78% | 67,941 MW
|  | 12461.4178 | 50.25% | 50.25% | 49.75% | 12,461 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 48.6 | 30279.0778 | 57.57% | 57.57% | 42.43% | 30,279 MW
Low (F) | 36.9
Fog
Billings, MT
High (F) | 41
Low (F) | 28.9
Moderate rain
Loveland, CO
High (F) | 63
Low (F) | 32.9
Partly Cloudy
Los Angeles, CA
High (F) | 65.3
Low (F) | 47.7
Sunny
Phoenix, AZ
High (F) | 70.2
Low (F) | 49.1
Sunny
Salt Lake City, UT
High (F) | 35.2
Low (F) | 27.7
Moderate or heavy snow showers
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
67,941 MW
12,461 MW
30,279 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend