## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-03-20
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 58.5 |  | 46.9 |  | 45.5 | 60.6
Low: |  | 43.5 |  | 29.1 |  | 39.7 | 40.1
Conditions: |  | Mist |  | Overcast |  | Moderate rain | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 66584.2174 | 8 | 11936.5627 |  | 4369.0557 | 20919.01
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12533.423 | 20 | 1299 |  | 814.6725 | 10965.73
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 29593.7998 | 20 | 4043.67 |  | 2609.67 | 28930.85
Includes CFE, CISO & LDWP
WI TOTAL |  | 107635.807 | 8 | 18656.8727 |  | 7462.3057 | 60574.59
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 69816 | 7 | 16147
SRSG |  | 12879 | 6 | 3887
CAMX* |  | 31610 | 8 | 6029
WI TOTAL |  | 114094 | 7 | 25734
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 46.9
Low (F) | 29.1
Overcast |  | 66584.2174 | 69.8% | 69.8% | 30.2% | 66,584 MW
|  | 12533.423 | 50.54% | 50.54% | 49.46% | 12,533 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 48.2 | 29593.7998 | 56.27% | 56.27% | 43.73% | 29,594 MW
Low (F) | 40.8
Patchy rain nearby
Billings, MT
High (F) | 51.8
Low (F) | 27
Overcast
Loveland, CO
High (F) | 56.3
Low (F) | 21.4
Overcast
Los Angeles, CA
High (F) | 66.2
Low (F) | 50.2
Partly Cloudy
Phoenix, AZ
High (F) | 82.4
Low (F) | 45.1
Sunny
Salt Lake City, UT
High (F) | 41.2
Low (F) | 25.3
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
66,584 MW
12,533 MW
29,594 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend