## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-03-21
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 58.3 |  | 51.8 |  | 44.6 | 70
Low: |  | 44.6 |  | 25.2 |  | 39.2 | 39.4
Conditions: |  | Overcast |  | Sunny |  | Overcast | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 65095.8646 | 8 | 12522.3464 |  | 4512.0464 | 21138.65
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12436.5324 | 20 | 1489 |  | 808.3746 | 10553.59
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 28940.5119 | 21 | 4745.11 |  | 2486.11 | 27790.4
Includes CFE, CISO & LDWP
WI TOTAL |  | 105799.2663 | 8 | 19241.4064 |  | 7590.9664 | 59324.64
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 69227 | 7 | 17934
SRSG |  | 13127 | 19 | 4260
CAMX* |  | 30672 | 8 | 5838
WI TOTAL |  | 112615 | 7 | 27169
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 51.8
Low (F) | 25.2
Sunny |  | 65095.8646 | 68.24% | 68.24% | 31.76% | 65,096 MW
|  | 12436.5324 | 50.15% | 50.15% | 49.85% | 12,437 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 53.1 | 28940.5119 | 55.02% | 55.02% | 44.98% | 28,941 MW
Low (F) | 40.3
Moderate rain
Billings, MT
High (F) | 55.8
Low (F) | 28.4
Sunny
Loveland, CO
High (F) | 58.3
Low (F) | 27.9
Partly Cloudy
Los Angeles, CA
High (F) | 64.6
Low (F) | 46.9
Partly Cloudy
Phoenix, AZ
High (F) | 85.6
Low (F) | 49.1
Sunny
Salt Lake City, UT
High (F) | 45
Low (F) | 23.9
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
65,096 MW
12,437 MW
28,941 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend