## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-03-26
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 63.1 |  | 37.9 |  | 62.4 | 78.8
Low: |  | 51.8 |  | 33.4 |  | 43.9 | 57.2
Conditions: |  | Cloudy |  | Overcast |  | Patchy rain nearby | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 59656.6576 | 19 | 13430.5897 |  | 4016.9397 | 21061.02
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14695.8481 | 19 | 1282 |  | 955.2301 | 9588.1
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30307.9831 | 20 | 3779.31 |  | 2637.31 | 29643.22
Includes CFE, CISO & LDWP
WI TOTAL |  | 104296.3548 | 20 | 19636.4704 |  | 7255.1104 | 60112.34
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 62125 | 19 | 15732
SRSG |  | 16446 | 18 | 3974
CAMX* |  | 32210 | 19 | 5033
WI TOTAL |  | 110483 | 19 | 24247
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 37.9
Low (F) | 33.4
Overcast |  | 59656.6576 | 62.54% | 62.54% | 37.46% | 59,657 MW
|  | 14695.8481 | 59.26% | 59.26% | 40.74% | 14,696 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 76.6 | 30307.9831 | 57.62% | 57.62% | 42.38% | 30,308 MW
Low (F) | 51
Moderate rain
Billings, MT
High (F) | 73.6
Low (F) | 32.5
Partly Cloudy
Loveland, CO
High (F) | 75.6
Low (F) | 33.3
Sunny
Los Angeles, CA
High (F) | 60.6
Low (F) | 52.7
Overcast
Phoenix, AZ
High (F) | 94.6
Low (F) | 64.8
Overcast
Salt Lake City, UT
High (F) | 72.9
Low (F) | 31.5
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
59,657 MW
14,696 MW
30,308 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend