## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-03-27
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 56.3 |  | 38.3 |  | 52.9 | 85.3
Low: |  | 46.5 |  | 29.8 |  | 47.3 | 54.3
Conditions: |  | Moderate rain |  | Patchy rain nearby |  | Heavy rain | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 59413.818 | 20 | 14327.9692 |  | 3964.6192 | 19529.56
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14294.8455 | 19 | 1399 |  | 929.165 | 10372.58
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 29932.1469 | 21 | 4402.72 |  | 2458.72 | 28900.46
Includes CFE, CISO & LDWP
WI TOTAL |  | 103516.5914 | 20 | 20203.0192 |  | 7249.0392 | 58432.6
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 62521 | 19 | 16671
SRSG |  | 15587 | 18 | 3722
CAMX* |  | 30965 | 19 | 5193
WI TOTAL |  | 109009 | 19 | 25304
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 38.3
Low (F) | 29.8
Patchy rain nearby |  | 59413.818 | 62.28% | 62.28% | 37.72% | 59,414 MW
|  | 14294.8455 | 57.65% | 57.65% | 42.35% | 14,295 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 55.2 | 29932.1469 | 56.91% | 56.91% | 43.09% | 29,932 MW
Low (F) | 46.9
Overcast
Billings, MT
High (F) | 77.7
Low (F) | 33.1
Partly Cloudy
Loveland, CO
High (F) | 82.6
Low (F) | 34.9
Sunny
Los Angeles, CA
High (F) | 62.2
Low (F) | 54.5
Overcast
Phoenix, AZ
High (F) | 92.1
Low (F) | 62.4
Sunny
Salt Lake City, UT
High (F) | 74.5
Low (F) | 41.4
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
59,414 MW
14,295 MW
29,932 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend