## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-03-28
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 54.9 |  | 31.6 |  | 47.5 | 75.4
Low: |  | 43.8 |  | 25 |  | 45.3 | 59.7
Conditions: |  | Patchy rain nearby |  | Overcast |  | Moderate rain | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60159.4589 | 9 | 16120.9191 |  | 4061.6091 | 19966.29
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12978.0565 | 20 | 1526 |  | 843.5737 | 11263.4
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 28676.6803 | 21 | 4570 |  | 2613 | 27869.93
Includes CFE, CISO & LDWP
WI TOTAL |  | 100578.8293 | 20 | 21446.2768 |  | 7099.6568 | 58696.62
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 62764 | 19 | 17738
SRSG |  | 15450 | 18 | 4422
CAMX* |  | 30179 | 11 | 6934
WI TOTAL |  | 107973 | 19 | 26021
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 31.6
Low (F) | 25
Overcast |  | 60159.4589 | 63.06% | 63.06% | 36.94% | 60,159 MW
|  | 12978.0565 | 52.34% | 52.34% | 47.66% | 12,978 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 51.6 | 28676.6803 | 54.52% | 54.52% | 45.48% | 28,677 MW
Low (F) | 42.7
Moderate rain
Billings, MT
High (F) | 62.2
Low (F) | 40.6
Partly Cloudy
Loveland, CO
High (F) | 74.1
Low (F) | 39.2
Overcast
Los Angeles, CA
High (F) | 63.1
Low (F) | 52.7
Partly Cloudy
Phoenix, AZ
High (F) | 81.3
Low (F) | 59.7
Partly Cloudy
Salt Lake City, UT
High (F) | 50.9
Low (F) | 39.4
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,159 MW
12,978 MW
28,677 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend