## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-01
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 47.3 |  | 45.7 |  | 47.8 | 73.4
Low: |  | 39.4 |  | 26.4 |  | 39.7 | 43.5
Conditions: |  | Heavy rain |  | Patchy rain nearby |  | Fog | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 62958.6416 | 8 | 15343.855 |  | 4364.015 | 22430.75
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12774.2199 | 20 | 1377 |  | 830.3243 | 14542.55
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30545.6245 | 21 | 4061.72 |  | 2611.72 | 28693.53
Includes CFE, CISO & LDWP
WI TOTAL |  | 103734.9564 | 20 | 20410.7559 |  | 7234.5159 | 65057.83
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 64694 | 8 | 16819
SRSG |  | 14230 | 19 | 3084
CAMX* |  | 31546 | 11 | 7078
WI TOTAL |  | 109377 | 19 | 25566
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 45.7
Low (F) | 26.4
Patchy rain nearby |  | 62958.6416 | 66% | 66% | 34% | 62,959 MW
|  | 12774.2199 | 51.52% | 51.52% | 48.48% | 12,774 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 52.5 | 30545.6245 | 58.07% | 58.07% | 41.93% | 30,546 MW
Low (F) | 36.5
Fog
Billings, MT
High (F) | 49.8
Low (F) | 25.9
Overcast
Loveland, CO
High (F) | 59.9
Low (F) | 35.4
Partly Cloudy
Los Angeles, CA
High (F) | 64.4
Low (F) | 51.4
Sunny
Phoenix, AZ
High (F) | 72.1
Low (F) | 52.7
Sunny
Salt Lake City, UT
High (F) | 39.6
Low (F) | 30.4
Moderate rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
62,959 MW
12,774 MW
30,546 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend