## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-02
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 57.6 |  | 32.2 |  | 46 | 77.5
Low: |  | 37 |  | 24.8 |  | 39.7 | 67.1
Conditions: |  | Mist |  | Moderate or heavy snow showers |  | Partly Cloudy | Moderate rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 63857.6039 | 8 | 14224.3577 |  | 4366.6077 | 21856.55
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12806.9855 | 20 | 1304 |  | 832.4541 | 15232.16
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30263.2569 | 21 | 3813 |  | 2641 | 28187.4
Includes CFE, CISO & LDWP
WI TOTAL |  | 104580.6858 | 8 | 20730.9277 |  | 7435.4977 | 64881.11
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 66043 | 8 | 16408
SRSG |  | 13346 | 19 | 2947
CAMX* |  | 31479 | 10 | 6977
WI TOTAL |  | 108658 | 8 | 27156
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-04-01 |  | Path 80 |  | 4 | 2

## Map
Weather Information
Calgary, AB
High (F) | 32.2
Low (F) | 24.8
Moderate or heavy snow showers |  | 63857.6039 | 66.94% | 66.94% | 33.06% | 63,858 MW
|  | 12806.9855 | 51.65% | 51.65% | 48.35% | 12,807 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 50.7 | 30263.2569 | 57.54% | 57.54% | 42.46% | 30,263 MW
Low (F) | 40.6
Patchy rain nearby
Billings, MT
High (F) | 48.2
Low (F) | 30.7
Patchy rain nearby
Loveland, CO
High (F) | 54.9
Low (F) | 34.3
Cloudy
Los Angeles, CA
High (F) | 59.7
Low (F) | 49.6
Sunny
Phoenix, AZ
High (F) | 68.4
Low (F) | 46.8
Partly Cloudy
Salt Lake City, UT
High (F) | 42.6
Low (F) | 15.4
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
63,858 MW
12,807 MW
30,263 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend