## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-03
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 63.3 |  | 33.8 |  | 49.6 | 73.2
Low: |  | 39.6 |  | 22.1 |  | 40.3 | 58.6
Conditions: |  | Sunny |  | Cloudy |  | Partly Cloudy | Moderate rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 64482.7895 | 8 | 15044.7481 |  | 4310.3181 | 20747.67
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12662.9004 | 20 | 1276 |  | 823.0885 | 14318.84
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 29977.4861 | 21 | 3989.49 |  | 2820.49 | 28305.46
Includes CFE, CISO & LDWP
WI TOTAL |  | 105381.6409 | 8 | 21195.4481 |  | 7417.4481 | 63055.97
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 66335 | 7 | 17622
SRSG |  | 13027 | 19 | 2895
CAMX* |  | 30298 | 20 | 5038
WI TOTAL |  | 108284 | 7 | 26256
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 33.8
Low (F) | 22.1
Cloudy |  | 64482.7895 | 67.6% | 67.6% | 32.4% | 64,483 MW
|  | 12662.9004 | 51.07% | 51.07% | 48.93% | 12,663 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 54.9 | 29977.4861 | 56.99% | 56.99% | 43.01% | 29,977 MW
Low (F) | 41.9
Cloudy
Billings, MT
High (F) | 50.2
Low (F) | 26.4
Partly Cloudy
Loveland, CO
High (F) | 44.2
Low (F) | 29.1
Moderate rain
Los Angeles, CA
High (F) | 67.1
Low (F) | 50.4
Sunny
Phoenix, AZ
High (F) | 69.1
Low (F) | 46.6
Sunny
Salt Lake City, UT
High (F) | 43.2
Low (F) | 24.3
Mist
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
64,483 MW
12,663 MW
29,977 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend