## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-04
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 71.2 |  | 46 |  | 56.7 | 87.3
Low: |  | 41.4 |  | 21.4 |  | 39.9 | 54.1
Conditions: |  | Sunny |  | Sunny |  | Partly Cloudy | Thundery outbreaks in nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 63797.6558 | 8 | 16269.5775 |  | 4377.9275 | 21354.04
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 12425.8604 | 20 | 1261 |  | 807.6809 | 14400.78
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 29258.0736 | 21 | 3670.55 |  | 2515.55 | 27487.64
Includes CFE, CISO & LDWP
WI TOTAL |  | 104191.8476 | 8 | 22532.1175 |  | 7427.6075 | 63091.46
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 66877 | 7 | 16527
SRSG |  | 13088 | 19 | 2763
CAMX* |  | 37708 | 10 | 6321
WI TOTAL |  | 111800 | 10 | 29763
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 46
Low (F) | 21.4
Sunny |  | 63797.6558 | 66.88% | 66.88% | 33.12% | 63,798 MW
|  | 12425.8604 | 50.11% | 50.11% | 49.89% | 12,426 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 69.8 | 29258.0736 | 55.63% | 55.63% | 44.37% | 29,258 MW
Low (F) | 36.9
Sunny
Billings, MT
High (F) | 45.7
Low (F) | 26.6
Partly Cloudy
Loveland, CO
High (F) | 40.3
Low (F) | 28.8
Overcast
Los Angeles, CA
High (F) | 61
Low (F) | 49.5
Partly Cloudy
Phoenix, AZ
High (F) | 70.5
Low (F) | 50.5
Cloudy
Salt Lake City, UT
High (F) | 46.6
Low (F) | 23.9
Mist
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
63,798 MW
12,426 MW
29,258 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend