## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-07
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 62.4 |  | 61.7 |  | 50.2 | 66.6
Low: |  | 48.7 |  | 27.5 |  | 44.4 | 37.8
Conditions: |  | Patchy rain nearby |  | Overcast |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60657.777 | 20 | 14784.8644 |  | 3942.7555 | 21682.03
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13871.9106 | 20 | 1290 |  | 901.6742 | 14350.02
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30428.8022 | 21 | 4408.72 |  | 2829.72 | 25700.31
Includes CFE, CISO & LDWP
WI TOTAL |  | 104934.7964 | 20 | 20395.8644 |  | 6733.0704 | 61393.36
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 60757 | 19 | 16419
SRSG |  | 13177 | 19 | 2875
CAMX* |  | 28413 | 19 | 5324
WI TOTAL |  | 102347 | 19 | 24618
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 61.7
Low (F) | 27.5
Overcast |  | 60657.777 | 63.59% | 63.59% | 36.41% | 60,658 MW
|  | 13871.9106 | 55.94% | 55.94% | 44.06% | 13,872 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 54.1 | 30428.8022 | 57.85% | 57.85% | 42.15% | 30,429 MW
Low (F) | 46
Moderate rain
Billings, MT
High (F) | 68.7
Low (F) | 26.1
Partly Cloudy
Loveland, CO
High (F) | 69.1
Low (F) | 24.3
Sunny
Los Angeles, CA
High (F) | 64.8
Low (F) | 49.6
Partly Cloudy
Phoenix, AZ
High (F) | 89.8
Low (F) | 52.5
Sunny
Salt Lake City, UT
High (F) | 70.9
Low (F) | 30.4
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,658 MW
13,872 MW
30,429 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend