## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-08
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 68.2 |  | 50.5 |  | 47.8 | 65.1
Low: |  | 43.9 |  | 30.7 |  | 42.3 | 41.5
Conditions: |  | Mist |  | Overcast |  | Moderate rain | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60286.3718 | 20 | 15199.7231 |  | 3918.6142 | 21406.27
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14553.8705 | 19 | 1413 |  | 946.0016 | 14711.75
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31339.115 | 21 | 4362 |  | 2945 | 27720.58
Includes CFE, CISO & LDWP
WI TOTAL |  | 106084.594 | 20 | 20998.7231 |  | 7067.3941 | 63437.6
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 63108 | 19 | 16502
SRSG |  | 14004 | 18 | 2958
CAMX* |  | 31306 | 19 | 5265
WI TOTAL |  | 108407 | 19 | 24399
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 50.5
Low (F) | 30.7
Overcast |  | 60286.3718 | 63.2% | 63.2% | 36.8% | 60,286 MW
|  | 14553.8705 | 58.69% | 58.69% | 41.31% | 14,554 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 54.3 | 31339.115 | 59.58% | 59.58% | 40.42% | 31,339 MW
Low (F) | 44.2
Patchy rain nearby
Billings, MT
High (F) | 59.9
Low (F) | 37.4
Thundery outbreaks in nearby
Loveland, CO
High (F) | 73.2
Low (F) | 33.3
Overcast
Los Angeles, CA
High (F) | 66
Low (F) | 51.1
Partly Cloudy
Phoenix, AZ
High (F) | 93.9
Low (F) | 54.5
Sunny
Salt Lake City, UT
High (F) | 61.7
Low (F) | 38.5
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,286 MW
14,554 MW
31,339 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend