## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-09
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 77.5 |  | 54.7 |  | 53.2 | 78.1
Low: |  | 40.3 |  | 29.8 |  | 42.8 | 40.3
Conditions: |  | Sunny |  | Partly Cloudy |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60690.8229 | 8 | 14415.0112 |  | 3944.9035 | 22562.33
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15448.617 | 18 | 1360 |  | 1004.1601 | 15294.87
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32526.5576 | 20 | 4153 |  | 3045 | 28669.56
Includes CFE, CISO & LDWP
WI TOTAL |  | 107578.1901 | 20 | 20174.8632 |  | 6968.0682 | 66030.76
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 63263 | 19 | 15075
SRSG |  | 15058 | 18 | 3629
CAMX* |  | 31675 | 19 | 5928
WI TOTAL |  | 109968 | 19 | 23806
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 54.7
Low (F) | 29.8
Partly Cloudy |  | 60690.8229 | 63.62% | 63.62% | 36.38% | 60,691 MW
|  | 15448.617 | 62.3% | 62.3% | 37.7% | 15,449 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 61 | 32526.5576 | 61.84% | 61.84% | 38.16% | 32,527 MW
Low (F) | 46.4
Cloudy
Billings, MT
High (F) | 60.8
Low (F) | 32.2
Sunny
Loveland, CO
High (F) | 76.1
Low (F) | 38.7
Sunny
Los Angeles, CA
High (F) | 67.6
Low (F) | 52.3
Partly Cloudy
Phoenix, AZ
High (F) | 98.8
Low (F) | 57.7
Sunny
Salt Lake City, UT
High (F) | 69.8
Low (F) | 38.8
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,691 MW
15,449 MW
32,527 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend