## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-11
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 73.4 |  | 56.3 |  | 49.3 | 74.1
Low: |  | 52.3 |  | 35.4 |  | 42.8 | 56.3
Conditions: |  | Cloudy |  | Sunny |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 49608.8912 | 19 | 13503.4001 |  | 3370.2351 | 23168.04
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 16948.877 | 18 | 1259 |  | 1101.677 | 15254.36
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32072.4221 | 20 | 4843 |  | 3145 | 26091.11
Includes CFE, CISO & LDWP
WI TOTAL |  | 97759.9329 | 20 | 19701.0707 |  | 7258.9557 | 63954.51
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 62524 | 20 | 15926
SRSG |  | 17550 | 17 | 3762
CAMX* |  | 33363 | 19 | 5467
WI TOTAL |  | 112960 | 18 | 23097
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 56.3
Low (F) | 35.4
Sunny |  | 49608.8912 | 52% | 52% | 48% | 49,609 MW
|  | 16948.877 | 68.35% | 68.35% | 31.65% | 16,949 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 54.7 | 32072.4221 | 60.98% | 60.98% | 39.02% | 32,072 MW
Low (F) | 44.2
Partly Cloudy
Billings, MT
High (F) | 80.1
Low (F) | 37.2
Partly Cloudy
Loveland, CO
High (F) | 82.9
Low (F) | 35.2
Sunny
Los Angeles, CA
High (F) | 71.1
Low (F) | 53.4
Partly Cloudy
Phoenix, AZ
High (F) | 102.4
Low (F) | 60.4
Sunny
Salt Lake City, UT
High (F) | 83.5
Low (F) | 42.3
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
49,609 MW
16,949 MW
32,072 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend