## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-15
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 68.5 |  | 60.6 |  | 53.2 | 72.7
Low: |  | 52.5 |  | 38.8 |  | 44.6 | 54.1
Conditions: |  | Partly Cloudy |  | Partly Cloudy |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 58837.4026 | 20 | 14532.7841 |  | 3957.5861 | 23626.55
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15789.5641 | 18 | 1258 |  | 1026.3217 | 15396.38
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31217.9939 | 21 | 4080.86 |  | 2367.86 | 25496.97
Includes CFE, CISO & LDWP
WI TOTAL |  | 105269.15 | 20 | 20065.1941 |  | 7339.1861 | 63755.9
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 62297 | 7 | 15409
SRSG |  | 15872 | 16 | 3946
CAMX* |  | 31559 | 20 | 4412
WI TOTAL |  | 108495 | 19 | 21624
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 60.6
Low (F) | 38.8
Partly Cloudy |  | 58837.4026 | 61.68% | 61.68% | 38.32% | 58,837 MW
|  | 15789.5641 | 63.68% | 63.68% | 36.32% | 15,790 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 74.5 | 31217.9939 | 59.35% | 59.35% | 40.65% | 31,218 MW
Low (F) | 48.1
Sunny
Billings, MT
High (F) | 74.3
Low (F) | 30.9
Sunny
Loveland, CO
High (F) | 70.5
Low (F) | 29.1
Sunny
Los Angeles, CA
High (F) | 61.2
Low (F) | 52.9
Overcast
Phoenix, AZ
High (F) | 95.7
Low (F) | 66.7
Sunny
Salt Lake City, UT
High (F) | 71.1
Low (F) | 30.9
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
58,837 MW
15,790 MW
31,218 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend