## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-17
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 61.3 |  | 48.2 |  | 61.3 | 79
Low: |  | 45.9 |  | 30.2 |  | 46.4 | 58.6
Conditions: |  | Partly Cloudy |  | Partly Cloudy |  | Sunny | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 59539.2115 | 8 | 13388.5348 |  | 4151.9138 | 24191.48
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14375.1713 | 19 | 1351 |  | 934.3861 | 15624.43
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30495.5703 | 21 | 4694 |  | 3032 | 24953.47
Includes CFE, CISO & LDWP
WI TOTAL |  | 102271.7736 | 20 | 17561.3906 |  | 8114.9106 | 64025.38
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 60971 | 19 | 16402
SRSG |  | 16853 | 17 | 4308
CAMX* |  | 32202 | 10 | 6017
WI TOTAL |  | 108334 | 19 | 24793
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 48.2
Low (F) | 30.2
Partly Cloudy |  | 59539.2115 | 62.41% | 62.41% | 37.59% | 59,539 MW
|  | 14375.1713 | 57.97% | 57.97% | 42.03% | 14,375 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 66.9 | 30495.5703 | 57.98% | 57.98% | 42.02% | 30,496 MW
Low (F) | 45.7
Sunny
Billings, MT
High (F) | 39
Low (F) | 30.2
Heavy rain
Loveland, CO
High (F) | 78.1
Low (F) | 39.9
Partly Cloudy
Los Angeles, CA
High (F) | 59
Low (F) | 53.1
Overcast
Phoenix, AZ
High (F) | 78.6
Low (F) | 59.2
Sunny
Salt Lake City, UT
High (F) | 48.4
Low (F) | 34.5
Moderate rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
59,539 MW
14,375 MW
30,496 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend