## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-18
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 75.6 |  | 60.3 |  | 61.7 | 86.4
Low: |  | 45.7 |  | 26.8 |  | 46.9 | 66.2
Conditions: |  | Sunny |  | Sunny |  | Partly Cloudy | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 58887.5046 | 8 | 12783.5734 |  | 3976.2394 | 23018.49
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 13137.3095 | 19 | 1534 |  | 853.9251 | 15288.71
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 29404.8384 | 21 | 4547.02 |  | 2946.02 | 25092.68
Includes CFE, CISO & LDWP
WI TOTAL |  | 98373.6052 | 20 | 19657.0077 |  | 7583.8057 | 62875.88
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 62274 | 7 | 16885
SRSG |  | 14157 | 18 | 4171
CAMX* |  | 32960 | 9 | 6691
WI TOTAL |  | 106508 | 7 | 27293
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 60.3
Low (F) | 26.8
Sunny |  | 58887.5046 | 61.73% | 61.73% | 38.27% | 58,888 MW
|  | 13137.3095 | 52.98% | 52.98% | 47.02% | 13,137 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 76.1 | 29404.8384 | 55.91% | 55.91% | 44.09% | 29,405 MW
Low (F) | 46.4
Sunny
Billings, MT
High (F) | 49.5
Low (F) | 19.9
Partly Cloudy
Loveland, CO
High (F) | 39.9
Low (F) | 30.9
Moderate rain
Los Angeles, CA
High (F) | 60.3
Low (F) | 52.5
Partly Cloudy
Phoenix, AZ
High (F) | 73.6
Low (F) | 52.9
Sunny
Salt Lake City, UT
High (F) | 54
Low (F) | 30.9
Moderate rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
58,888 MW
13,137 MW
29,405 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend