## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-23
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 70.3 |  | 55.2 |  | 60.4 | 83.1
Low: |  | 47.7 |  | 30.7 |  | 39.9 | 62.8
Conditions: |  | Sunny |  | Sunny |  | Partly Cloudy | Mist
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 59861.5246 | 8 | 15407.519 |  | 4078.8379 | 24190.58
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15224.9744 | 18 | 1368 |  | 989.6233 | 16082
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31164.1452 | 21 | 4167.12 |  | 2615.12 | 26718.91
Includes CFE, CISO & LDWP
WI TOTAL |  | 103460.2952 | 20 | 20065.7541 |  | 7249.6651 | 66097.49
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 62385 | 7 | 16319
SRSG |  | 16177 | 17 | 4593
CAMX* |  | 31905 | 20 | 4308
WI TOTAL |  | 109124 | 20 | 20929
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 55.2
Low (F) | 30.7
Sunny |  | 59861.5246 | 62.75% | 62.75% | 37.25% | 59,862 MW
|  | 15224.9744 | 61.4% | 61.4% | 38.6% | 15,225 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 71.8 | 31164.1452 | 59.25% | 59.25% | 40.75% | 31,164 MW
Low (F) | 44.1
Sunny
Billings, MT
High (F) | 52.3
Low (F) | 35.2
Patchy rain nearby
Loveland, CO
High (F) | 64
Low (F) | 39.4
Overcast
Los Angeles, CA
High (F) | 59.4
Low (F) | 54.1
Overcast
Phoenix, AZ
High (F) | 92.7
Low (F) | 60.6
Sunny
Salt Lake City, UT
High (F) | 68.7
Low (F) | 38.7
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
59,862 MW
15,225 MW
31,164 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend