## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-24
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 64 |  | 57.9 |  | 69.3 | 83.7
Low: |  | 43.5 |  | 30.7 |  | 47.1 | 66
Conditions: |  | Partly Cloudy |  | Sunny |  | Sunny | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 58552.8254 | 8 | 14425.9937 |  | 4015.7807 | 22824.75
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15034.1755 | 19 | 1342 |  | 977.2214 | 15385.32
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30988.5677 | 21 | 4059.42 |  | 2599.42 | 26931.21
Includes CFE, CISO & LDWP
WI TOTAL |  | 103104.3325 | 20 | 19796.8578 |  | 7270.5858 | 64652.28
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 62356 | 7 | 17248
SRSG |  | 16166 | 17 | 4546
CAMX* |  | 31854 | 19 | 4773
WI TOTAL |  | 108462 | 19 | 22062
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
| WACM | Path 31 |  | 4 | 1

## Map
Weather Information
Calgary, AB
High (F) | 57.9
Low (F) | 30.7
Sunny |  | 58552.8254 | 61.38% | 61.38% | 38.62% | 58,553 MW
|  | 15034.1755 | 60.63% | 60.63% | 39.37% | 15,034 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 78.4 | 30988.5677 | 58.92% | 58.92% | 41.08% | 30,989 MW
Low (F) | 49.3
Sunny
Billings, MT
High (F) | 50.5
Low (F) | 40.5
Moderate rain
Loveland, CO
High (F) | 72.5
Low (F) | 44.6
Patchy rain nearby
Los Angeles, CA
High (F) | 63.7
Low (F) | 53.2
Partly Cloudy
Phoenix, AZ
High (F) | 91.6
Low (F) | 60.8
Sunny
Salt Lake City, UT
High (F) | 67.6
Low (F) | 39.6
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
58,553 MW
15,034 MW
30,989 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend