## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-25
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 57.9 |  | 63.7 |  | 70.2 | 80.2
Low: |  | 45.3 |  | 35.1 |  | 52.5 | 67.3
Conditions: |  | Overcast |  | Sunny |  | Sunny | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 57145.8576 | 8 | 14297.3328 |  | 3894.4448 | 22453.74
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14705.0018 | 18 | 1344 |  | 955.8251 | 13676.17
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30095.8098 | 21 | 4227.72 |  | 2543.72 | 27851.68
Includes CFE, CISO & LDWP
WI TOTAL |  | 99943.6236 | 20 | 19900.0972 |  | 7096.0542 | 63383.59
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 61167 | 7 | 16083
SRSG |  | 16147 | 18 | 3584
CAMX* |  | 30810 | 20 | 3836
WI TOTAL |  | 106881 | 19 | 22569
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 63.7
Low (F) | 35.1
Sunny |  | 57145.8576 | 59.91% | 59.91% | 40.09% | 57,146 MW
|  | 14705.0018 | 59.3% | 59.3% | 40.7% | 14,705 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 75.7 | 30095.8098 | 57.22% | 57.22% | 42.78% | 30,096 MW
Low (F) | 48.4
Partly Cloudy
Billings, MT
High (F) | 58.1
Low (F) | 36.7
Partly Cloudy
Loveland, CO
High (F) | 43.3
Low (F) | 40.3
Patchy rain nearby
Los Angeles, CA
High (F) | 59.7
Low (F) | 53.2
Partly Cloudy
Phoenix, AZ
High (F) | 90.7
Low (F) | 61.3
Sunny
Salt Lake City, UT
High (F) | 71.4
Low (F) | 40.6
Overcast
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
57,146 MW
14,705 MW
30,096 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend