## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-28
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 71.2 |  | 60.8 |  | 49.8 | 91.8
Low: |  | 43.3 |  | 36.9 |  | 46 | 61.3
Conditions: |  | Sunny |  | Cloudy |  | Moderate rain | Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 59285.1039 | 20 | 15083.7621 |  | 3956.8431 | 22383.33
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14034.9575 | 19 | 1481 |  | 912.2722 | 12230.65
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 30631.8041 | 21 | 4107.85 |  | 2596.85 | 24737.73
Includes CFE, CISO & LDWP
WI TOTAL |  | 103360.912 | 20 | 20544.8021 |  | 7288.6431 | 58981.71
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 58608 | 20 | 17820
SRSG |  | 13629 | 19 | 3562
CAMX* |  | 28491 | 20 | 3908
WI TOTAL |  | 100574 | 20 | 24886
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 60.8
Low (F) | 36.9
Cloudy |  | 59285.1039 | 62.15% | 62.15% | 37.85% | 59,285 MW
|  | 14034.9575 | 56.6% | 56.6% | 43.4% | 14,035 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 59.9 | 30631.8041 | 58.24% | 58.24% | 41.76% | 30,632 MW
Low (F) | 46.6
Overcast
Billings, MT
High (F) | 54.5
Low (F) | 30.2
Heavy rain
Loveland, CO
High (F) | 72
Low (F) | 43.5
Partly Cloudy
Los Angeles, CA
High (F) | 63.9
Low (F) | 52.5
Partly Cloudy
Phoenix, AZ
High (F) | 83.8
Low (F) | 53.8
Sunny
Salt Lake City, UT
High (F) | 54.5
Low (F) | 38.5
Patchy rain nearby
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
59,285 MW
14,035 MW
30,632 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend