## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-04-29
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 77.2 |  | 58.5 |  | 54.7 | 86.2
Low: |  | 52 |  | 44.1 |  | 47.6 | 69.4
Conditions: |  | Sunny |  | Overcast |  | Patchy rain nearby | Thundery outbreaks in nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 58952.8735 | 20 | 15497.7891 |  | 3966.6061 | 22175.75
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 14721.1426 | 19 | 1357 |  | 956.8743 | 12157.58
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31583.1758 | 21 | 3798.46 |  | 2655.46 | 24847.93
Includes CFE, CISO & LDWP
WI TOTAL |  | 104858.5428 | 20 | 20683.1491 |  | 7369.1461 | 58699.26
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 61178 | 19 | 17389
SRSG |  | 14275 | 19 | 3317
CAMX* |  | 30604 | 20 | 4542
WI TOTAL |  | 106006 | 19 | 26269
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 58.5
Low (F) | 44.1
Overcast |  | 58952.8735 | 61.8% | 61.8% | 38.2% | 58,953 MW
|  | 14721.1426 | 59.37% | 59.37% | 40.63% | 14,721 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 60.1 | 31583.1758 | 60.05% | 60.05% | 39.95% | 31,583 MW
Low (F) | 42.2
Overcast
Billings, MT
High (F) | 67.1
Low (F) | 34
Cloudy
Loveland, CO
High (F) | 67.1
Low (F) | 37.9
Cloudy
Los Angeles, CA
High (F) | 65.5
Low (F) | 53.8
Partly Cloudy
Phoenix, AZ
High (F) | 87.6
Low (F) | 56.8
Sunny
Salt Lake City, UT
High (F) | 64.9
Low (F) | 34.5
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
58,953 MW
14,721 MW
31,583 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend