## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-05-01
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 80.1 |  | 66 |  | 66.9 | 80.1
Low: |  | 56.8 |  | 38.8 |  | 44.8 | 63.1
Conditions: |  | Sunny |  | Sunny |  | Partly Cloudy | Moderate rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 58739.6766 | 19 | 14123.201 |  | 3947.032 | 21903.63
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15709.5599 | 18 | 1293 |  | 1021.1214 | 12573.11
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31966.2067 | 21 | 3941.19 |  | 2664.19 | 26455.15
Includes CFE, CISO & LDWP
WI TOTAL |  | 105493.8312 | 20 | 20255.113 |  | 7367.344 | 60313.89
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 61646 | 20 | 15286
SRSG |  | 15444 | 18 | 3788
CAMX* |  | 32251 | 20 | 4333
WI TOTAL |  | 108978 | 20 | 22497
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 66
Low (F) | 38.8
Sunny |  | 58739.6766 | 61.58% | 61.58% | 38.42% | 58,740 MW
|  | 15709.5599 | 63.35% | 63.35% | 36.65% | 15,710 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 84.9 | 31966.2067 | 60.78% | 60.78% | 39.22% | 31,966 MW
Low (F) | 46.8
Sunny
Billings, MT
High (F) | 63.7
Low (F) | 34.3
Partly Cloudy
Loveland, CO
High (F) | 58.5
Low (F) | 42.4
Overcast
Los Angeles, CA
High (F) | 64.2
Low (F) | 55.6
Overcast
Phoenix, AZ
High (F) | 93.9
Low (F) | 62.1
Sunny
Salt Lake City, UT
High (F) | 64.4
Low (F) | 34
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
58,740 MW
15,710 MW
31,966 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend