## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-05-08
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 83.8 |  | 66.9 |  | 54 | 76.6
Low: |  | 54.7 |  | 46.8 |  | 44.4 | 63.5
Conditions: |  | Sunny |  | Sunny |  | Partly Cloudy | Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 59680.0321 | 19 | 13748.7359 |  | 3976.3209 | 21062.78
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 16603.2547 | 18 | 1509 |  | 1079.2116 | 12383.55
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33607.5877 | 21 | 4460.57 |  | 2786.57 | 24592.69
Includes CFE, CISO & LDWP
WI TOTAL |  | 109187.7729 | 19 | 19698.8759 |  | 7571.7709 | 57497.02
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 61485 | 19 | 16166
SRSG |  | 14469 | 18 | 4999
CAMX* |  | 32447 | 20 | 4907
WI TOTAL |  | 108095 | 19 | 24608
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 66.9
Low (F) | 46.8
Sunny |  | 59680.0321 | 62.56% | 62.56% | 37.44% | 59,680 MW
|  | 16603.2547 | 66.96% | 66.96% | 33.04% | 16,603 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 65.5 | 33607.5877 | 63.9% | 63.9% | 36.1% | 33,608 MW
Low (F) | 40.5
Sunny
Billings, MT
High (F) | 81
Low (F) | 44.2
Sunny
Loveland, CO
High (F) | 75.7
Low (F) | 36.7
Sunny
Los Angeles, CA
High (F) | 68.9
Low (F) | 54.7
Partly Cloudy
Phoenix, AZ
High (F) | 96.8
Low (F) | 62.8
Sunny
Salt Lake City, UT
High (F) | 78.1
Low (F) | 39.7
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
59,680 MW
16,603 MW
33,608 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend