## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-05-09
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 89.1 |  | 69.1 |  | 61 | 75.6
Low: |  | 61.7 |  | 43.7 |  | 50.2 | 63
Conditions: |  | Sunny |  | Cloudy |  | Overcast | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 61267.6323 | 18 | 13749.6983 |  | 3913.6103 | 22640.95
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 18288.4119 | 18 | 1351 |  | 1188.7468 | 12732.86
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 36610.7026 | 20 | 4289.89 |  | 2983.89 | 25226.71
Includes CFE, CISO & LDWP
WI TOTAL |  | 115561.2165 | 19 | 19135.9423 |  | 7742.4643 | 59991.52
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 63181 | 18 | 15628
SRSG |  | 16873 | 18 | 3780
CAMX* |  | 34655 | 20 | 4769
WI TOTAL |  | 114161 | 18 | 25410
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 69.1
Low (F) | 43.7
Cloudy |  | 61267.6323 | 64.23% | 64.23% | 35.77% | 61,268 MW
|  | 18288.4119 | 73.75% | 73.75% | 26.25% | 18,288 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 73.4 | 36610.7026 | 69.61% | 69.61% | 30.39% | 36,611 MW
Low (F) | 45.7
Sunny
Billings, MT
High (F) | 81
Low (F) | 44.2
Sunny
Loveland, CO
High (F) | 79
Low (F) | 39.7
Sunny
Los Angeles, CA
High (F) | 73.6
Low (F) | 57
Partly Cloudy
Phoenix, AZ
High (F) | 103.3
Low (F) | 68
Sunny
Salt Lake City, UT
High (F) | 79.3
Low (F) | 41
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
61,268 MW
18,288 MW
36,611 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend