## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-05-13
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 79.9 |  | 62.2 |  | 57.7 | 73.2
Low: |  | 57.7 |  | 41.5 |  | 49.6 | 59.9
Conditions: |  | Sunny |  | Overcast |  | Overcast | Moderate rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 59666.5735 | 19 | 12997.1464 |  | 3880.8144 | 21829.17
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 15745.114 | 18 | 1459 |  | 1023.4324 | 11701.9
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 31027.4543 | 21 | 4510.07 |  | 2651.07 | 24304.28
Includes CFE, CISO & LDWP
WI TOTAL |  | 105160.3718 | 20 | 19606.1198 |  | 7283.5778 | 56948.35
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 65261 | 17 | 18508
SRSG |  | 18741 | 16 | 4438
CAMX* |  | 32860 | 12 | 6951
WI TOTAL |  | 114358 | 18 | 28202
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 62.2
Low (F) | 41.5
Overcast |  | 59666.5735 | 62.55% | 62.55% | 37.45% | 59,667 MW
|  | 15745.114 | 63.5% | 63.5% | 36.5% | 15,745 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 81.9 | 31027.4543 | 58.99% | 58.99% | 41.01% | 31,027 MW
Low (F) | 51.3
Sunny
Billings, MT
High (F) | 44.4
Low (F) | 37.9
Moderate rain
Loveland, CO
High (F) | 54.3
Low (F) | 41
Moderate rain
Los Angeles, CA
High (F) | 66.2
Low (F) | 57.4
Partly Cloudy
Phoenix, AZ
High (F) | 75.4
Low (F) | 55.6
Overcast
Salt Lake City, UT
High (F) | 57.6
Low (F) | 44.8
Moderate rain
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
59,667 MW
15,745 MW
31,027 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend