## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-05-16
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 82.4 |  | 57.6 |  | 52.9 | 91.2
Low: |  | 58.5 |  | 41.2 |  | 47.1 | 75.2
Conditions: |  | Sunny |  | Cloudy |  | Patchy rain nearby | Thundery outbreaks in nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 58825.6047 | 18 | 12572.8432 |  | 3823.6643 | 22181.43
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 16494.0719 | 18 | 1534 |  | 1072.1147 | 9969.01
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 32160.9015 | 21 | 4922.62 |  | 2694.62 | 25358.05
Includes CFE, CISO & LDWP
WI TOTAL |  | 105781.2357 | 20 | 20031.9695 |  | 6813.0795 | 56845.49
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 62753 | 19 | 15262
SRSG |  | 16648 | 19 | 3924
CAMX* |  | 33205 | 20 | 5031
WI TOTAL |  | 112403 | 19 | 24188
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 57.6
Low (F) | 41.2
Cloudy |  | 58825.6047 | 61.67% | 61.67% | 38.33% | 58,826 MW
|  | 16494.0719 | 66.52% | 66.52% | 33.48% | 16,494 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 56.5 | 32160.9015 | 61.15% | 61.15% | 38.85% | 32,161 MW
Low (F) | 48.4
Overcast
Billings, MT
High (F) | 66.2
Low (F) | 39.6
Sunny
Loveland, CO
High (F) | 75.9
Low (F) | 39.4
Sunny
Los Angeles, CA
High (F) | 67.3
Low (F) | 57.2
Overcast
Phoenix, AZ
High (F) | 95.7
Low (F) | 61.7
Sunny
Salt Lake City, UT
High (F) | 64.4
Low (F) | 39.2
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
58,826 MW
16,494 MW
32,161 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend