## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-05-19
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 81.1 |  | 62.2 |  | 50.5 | 84.6
Low: |  | 54.1 |  | 43.3 |  | 43.3 | 70.5
Conditions: |  | Sunny |  | Patchy rain nearby |  | Heavy rain | Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60150.8379 | 19 | 13490.5417 |  | 3996.9297 | 20842.22
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 16627.1314 | 18 | 1614 |  | 1080.7635 | 10860.72
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 34712.9668 | 21 | 4861.23 |  | 2813.23 | 21089.9
Includes CFE, CISO & LDWP
WI TOTAL |  | 110879.0041 | 20 | 20594.4393 |  | 7634.0373 | 52076.84
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 58205 | 18 | 21205
SRSG |  | 15799 | 18 | 4978
CAMX* |  | 30177 | 21 | 4647
WI TOTAL |  | 103660 | 20 | 25877
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 62.2
Low (F) | 43.3
Patchy rain nearby |  | 60150.8379 | 63.06% | 63.06% | 36.94% | 60,151 MW
|  | 16627.1314 | 67.05% | 67.05% | 32.95% | 16,627 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 58.8 | 34712.9668 | 66% | 66% | 34% | 34,713 MW
Low (F) | 49.1
Patchy rain nearby
Billings, MT
High (F) | 54.5
Low (F) | 43.3
Overcast
Loveland, CO
High (F) | 61
Low (F) | 41.7
Overcast
Los Angeles, CA
High (F) | 66.6
Low (F) | 56.8
Partly Cloudy
Phoenix, AZ
High (F) | 90.9
Low (F) | 60.6
Sunny
Salt Lake City, UT
High (F) | 51.6
Low (F) | 32.2
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,151 MW
16,627 MW
34,713 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend