## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-05-20
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 83.4 |  | 58.8 |  | 56.6 | 85.6
Low: |  | 56.7 |  | 39.4 |  | 48.2 | 71.8
Conditions: |  | Sunny |  | Moderate rain |  | Moderate rain | Moderate rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60460.8792 | 19 | 13183.1821 |  | 4054.7741 | 22075.21
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 17465.9682 | 18 | 1409 |  | 1135.2879 | 10585.98
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 36823.9549 | 20 | 5061.69 |  | 2973.69 | 22255.63
Includes CFE, CISO & LDWP
WI TOTAL |  | 114417.7742 | 19 | 19721.9721 |  | 7895.5941 | 54054.82
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 61518 | 19 | 16607
SRSG |  | 16909 | 18 | 4696
CAMX* |  | 35284 | 19 | 5173
WI TOTAL |  | 113554 | 18 | 29014
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 58.8
Low (F) | 39.4
Moderate rain |  | 60460.8792 | 63.38% | 63.38% | 36.62% | 60,461 MW
|  | 17465.9682 | 70.44% | 70.44% | 29.56% | 17,466 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 58.2 | 36823.9549 | 70.01% | 70.01% | 29.99% | 36,824 MW
Low (F) | 46.6
Moderate rain
Billings, MT
High (F) | 64.9
Low (F) | 38.8
Patchy rain nearby
Loveland, CO
High (F) | 73.6
Low (F) | 36.7
Sunny
Los Angeles, CA
High (F) | 74.6
Low (F) | 57.4
Partly Cloudy
Phoenix, AZ
High (F) | 93.9
Low (F) | 62.2
Sunny
Salt Lake City, UT
High (F) | 68.7
Low (F) | 32.4
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,461 MW
17,466 MW
36,824 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend