## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-05-21
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 88.4 |  | 59.5 |  | 56.1 | 81.9
Low: |  | 57.7 |  | 42 |  | 45.1 | 58.6
Conditions: |  | Sunny |  | Patchy rain nearby |  | Patchy rain nearby | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60069.1915 | 19 | 14741.5215 |  | 4037.7375 | 20824.22
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 19006.6974 | 18 | 1246 |  | 1235.4353 | 10434.48
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 38373.2955 | 20 | 5052.8 |  | 3042.8 | 24196.17
Includes CFE, CISO & LDWP
WI TOTAL |  | 116749.5629 | 19 | 21111.5615 |  | 8018.7875 | 54730.87
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 62954 | 17 | 21553
SRSG |  | 18697 | 17 | 4832
CAMX* |  | 37390 | 18 | 6027
WI TOTAL |  | 119023 | 18 | 28733
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 59.5
Low (F) | 42
Patchy rain nearby |  | 60069.1915 | 62.97% | 62.97% | 37.03% | 60,069 MW
|  | 19006.6974 | 76.65% | 76.65% | 23.35% | 19,007 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 64.2 | 38373.2955 | 72.96% | 72.96% | 27.04% | 38,373 MW
Low (F) | 39.6
Patchy rain nearby
Billings, MT
High (F) | 67.1
Low (F) | 44.7
Patchy rain nearby
Loveland, CO
High (F) | 77.6
Low (F) | 48.4
Sunny
Los Angeles, CA
High (F) | 80.9
Low (F) | 65.9
Sunny
Phoenix, AZ
High (F) | 98.7
Low (F) | 77.5
Sunny
Salt Lake City, UT
High (F) | 71.9
Low (F) | 43.2
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,069 MW
19,007 MW
38,373 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend