## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-05-23
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 77 |  | 62.4 |  | 56.8 | 79.5
Low: |  | 50.2 |  | 41.7 |  | 47.8 | 66.4
Conditions: |  | Sunny |  | Thundery outbreaks in nearby |  | Partly Cloudy | Thundery outbreaks in nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 60615.4096 | 18 | 13816.335 |  | 4056.3929 | 21537.59
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 19810.1413 | 17 | 1466 |  | 1287.6592 | 10699.89
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33554.2135 | 21 | 4955.63 |  | 2752.63 | 21591.82
Includes CFE, CISO & LDWP
WI TOTAL |  | 111979.1855 | 19 | 20298.871 |  | 7687.0189 | 52895.3
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 64536 | 18 | 18292
SRSG |  | 21557 | 17 | 4449
CAMX* |  | 37019 | 17 | 6431
WI TOTAL |  | 123074 | 17 | 30300
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
05-22/05-23 | WACM | Path 31 |  | 4 | 3

## Map
Weather Information
Calgary, AB
High (F) | 62.4
Low (F) | 41.7
Thundery outbreaks in nearby |  | 60615.4096 | 63.54% | 63.54% | 36.46% | 60,615 MW
|  | 19810.1413 | 79.89% | 79.89% | 20.11% | 19,810 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 67.1 | 33554.2135 | 63.79% | 63.79% | 36.21% | 33,554 MW
Low (F) | 46.2
Partly Cloudy
Billings, MT
High (F) | 68.7
Low (F) | 40.8
Partly Cloudy
Loveland, CO
High (F) | 87.8
Low (F) | 46.4
Sunny
Los Angeles, CA
High (F) | 69.6
Low (F) | 57.7
Partly Cloudy
Phoenix, AZ
High (F) | 104.9
Low (F) | 69.4
Sunny
Salt Lake City, UT
High (F) | 80.1
Low (F) | 42.4
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
60,615 MW
19,810 MW
33,554 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend