## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-05-27
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 86.5 |  | 76.5 |  | 69.4 | 71.8
Low: |  | 55.6 |  | 46.9 |  | 51.3 | 61.3
Conditions: |  | Sunny |  | Sunny |  | Sunny | Overcast
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 63650.9145 | 18 | 13560.2617 |  | 4110.0727 | 19163.37
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 18645.9922 | 18 | 1365 |  | 1211.9895 | 9034.99
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 33826.5725 | 21 | 4763.83 |  | 2775.83 | 19932.23
Includes CFE, CISO & LDWP
WI TOTAL |  | 114389.5676 | 19 | 19278.8437 |  | 7828.2747 | 47293.59
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 64863 | 17 | 20267
SRSG |  | 19536 | 17 | 5236
CAMX* |  | 32442 | 20 | 4783
WI TOTAL |  | 114921 | 18 | 27499
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 76.5
Low (F) | 46.9
Sunny |  | 63650.9145 | 66.72% | 66.72% | 33.28% | 63,651 MW
|  | 18645.9922 | 75.19% | 75.19% | 24.81% | 18,646 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 84.7 | 33826.5725 | 64.31% | 64.31% | 35.69% | 33,827 MW
Low (F) | 48.4
Sunny
Billings, MT
High (F) | 77.4
Low (F) | 44.8
Partly Cloudy
Loveland, CO
High (F) | 79.2
Low (F) | 44.8
Partly Cloudy
Los Angeles, CA
High (F) | 70.3
Low (F) | 58.8
Overcast
Phoenix, AZ
High (F) | 97.3
Low (F) | 68.7
Partly Cloudy
Salt Lake City, UT
High (F) | 83.7
Low (F) | 46.2
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
63,651 MW
18,646 MW
33,827 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend