## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-05-30
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 98.4 |  | 78.3 |  | 71.2 | 82.9
Low: |  | 66.7 |  | 49.3 |  | 52 | 63.5
Conditions: |  | Sunny |  | Sunny |  | Partly Cloudy | Moderate rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 67625.229 | 18 | 12616.6359 |  | 4253.2599 | 20762.72
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 20096.6874 | 18 | 1327 |  | 1306.2847 | 11727.15
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 41715.7637 | 19 | 4764.96 |  | 3278.96 | 22769.43
Includes CFE, CISO & LDWP
WI TOTAL |  | 128632.9561 | 18 | 18792.4059 |  | 8582.0199 | 54474.3
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 71004 | 17 | 17716
SRSG |  | 19508 | 15 | 4878
CAMX* |  | 36278 | 20 | 5884
WI TOTAL |  | 125555 | 18 | 28099
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 78.3
Low (F) | 49.3
Sunny |  | 67625.229 | 70.89% | 70.89% | 29.11% | 67,625 MW
|  | 20096.6874 | 81.04% | 81.04% | 18.96% | 20,097 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 87.8 | 41715.7637 | 79.31% | 79.31% | 20.69% | 41,716 MW
Low (F) | 49.8
Sunny
Billings, MT
High (F) | 81.7
Low (F) | 48.9
Sunny
Loveland, CO
High (F) | 88.3
Low (F) | 46.4
Sunny
Los Angeles, CA
High (F) | 75
Low (F) | 61
Partly Cloudy
Phoenix, AZ
High (F) | 100.9
Low (F) | 70.3
Sunny
Salt Lake City, UT
High (F) | 88.7
Low (F) | 54
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
67,625 MW
20,097 MW
41,716 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend