## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-06-02
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 87.8 |  | 64 |  | 67.3 | 93.7
Low: |  | 56.7 |  | 42.1 |  | 51.1 | 67.5
Conditions: |  | Sunny |  | Patchy rain nearby |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 65250.6623 | 18 | 12967.2712 |  | 4323.3592 | 19557.61
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 18303.0368 | 18 | 1550 |  | 1189.6974 | 9576.57
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 36266.8321 | 20 | 5024 |  | 3112 | 19878.08
Includes CFE, CISO & LDWP
WI TOTAL |  | 118726.6971 | 19 | 19247.8219 |  | 8323.0799 | 48077.26
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 66985 | 17 | 17152
SRSG |  | 16642 | 14 | 5373
CAMX* |  | 35506 | 18 | 6452
WI TOTAL |  | 117535 | 18 | 28227
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
06-01/06-02 | WACM | Path 31 |  | 4 | 4

## Map
Weather Information
Calgary, AB
High (F) | 64
Low (F) | 42.1
Patchy rain nearby |  | 65250.6623 | 71.95% | 71.95% | 28.05% | 65,251 MW
|  | 18303.0368 | 61.77% | 61.77% | 38.23% | 18,303 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 77.4 | 36266.8321 | 59.07% | 59.07% | 40.93% | 36,267 MW
Low (F) | 46.6
Sunny
Billings, MT
High (F) | 58.8
Low (F) | 47.5
Patchy rain nearby
Loveland, CO
High (F) | 91.6
Low (F) | 50.5
Partly Cloudy
Los Angeles, CA
High (F) | 68.9
Low (F) | 60.6
Partly Cloudy
Phoenix, AZ
High (F) | 96.6
Low (F) | 68.4
Partly Cloudy
Salt Lake City, UT
High (F) | 77.7
Low (F) | 54.9
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
65,251 MW
18,303 MW
36,267 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend