## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-06-03
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 87.8 |  | 60.4 |  | 64.8 | 90
Low: |  | 56.5 |  | 45.5 |  | 51.1 | 66.7
Conditions: |  | Sunny |  | Overcast |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 63661.8631 | 18 | 12062.0484 |  | 4152.7734 | 20753.81
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 19155.8747 | 18 | 1584 |  | 1245.1319 | 9127.22
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 35994.3582 | 21 | 4969.06 |  | 2828.06 | 19516.75
Includes CFE, CISO & LDWP
WI TOTAL |  | 117947.7188 | 19 | 18780.1337 |  | 7959.3687 | 48472.78
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 68265 | 17 | 17723
SRSG |  | 17648 | 17 | 5566
CAMX* |  | 37131 | 18 | 6592
WI TOTAL |  | 122850 | 17 | 29770
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 60.4
Low (F) | 45.5
Overcast |  | 63661.8631 | 70.19% | 70.19% | 29.81% | 63,662 MW
|  | 19155.8747 | 64.65% | 64.65% | 35.35% | 19,156 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 78.8 | 35994.3582 | 58.62% | 58.62% | 41.38% | 35,994 MW
Low (F) | 49.3
Sunny
Billings, MT
High (F) | 67.3
Low (F) | 33.6
Partly Cloudy
Loveland, CO
High (F) | 63.1
Low (F) | 47.1
Moderate rain
Los Angeles, CA
High (F) | 68.4
Low (F) | 60.3
Overcast
Phoenix, AZ
High (F) | 99.9
Low (F) | 74.1
Sunny
Salt Lake City, UT
High (F) | 70.5
Low (F) | 44.8
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
63,662 MW
19,156 MW
35,994 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend