## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-06-04
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 90.9 |  | 69.1 |  | 61.9 | 91.6
Low: |  | 60.6 |  | 46.6 |  | 50.9 | 72.1
Conditions: |  | Sunny |  | Partly Cloudy |  | Partly Cloudy | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 63359.8845 | 18 | 13311.5587 |  | 4157.3297 | 20096.07
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 18985.551 | 18 | 1547 |  | 1234.0608 | 9534.91
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 35512.4008 | 21 | 5019.51 |  | 2861.51 | 20406.84
Includes CFE, CISO & LDWP
WI TOTAL |  | 116908.5006 | 19 | 19549.0927 |  | 7953.7537 | 49189.82
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 65671 | 17 | 16133
SRSG |  | 19873 | 17 | 4865
CAMX* |  | 35561 | 10 | 6290
WI TOTAL |  | 120443 | 17 | 27564
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 69.1
Low (F) | 46.6
Partly Cloudy |  | 63359.8845 | 69.86% | 69.86% | 30.14% | 63,360 MW
|  | 18985.551 | 64.08% | 64.08% | 35.92% | 18,986 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 70 | 35512.4008 | 57.84% | 57.84% | 42.16% | 35,512 MW
Low (F) | 50.8
Overcast
Billings, MT
High (F) | 68.5
Low (F) | 42.1
Partly Cloudy
Loveland, CO
High (F) | 75.6
Low (F) | 52.2
Patchy rain nearby
Los Angeles, CA
High (F) | 67.3
Low (F) | 59
Partly Cloudy
Phoenix, AZ
High (F) | 99.9
Low (F) | 73.6
Sunny
Salt Lake City, UT
High (F) | 74.5
Low (F) | 41.4
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
63,360 MW
18,986 MW
35,512 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend