## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-06-05
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 88.5 |  | 77.7 |  | 68.7 | 93.4
Low: |  | 59.2 |  | 50.2 |  | 53.2 | 74.1
Conditions: |  | Sunny |  | Sunny |  | Cloudy | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 65107.6096 | 18 | 13095.0052 |  | 4043.9182 | 20019.81
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 19675.4362 | 18 | 1525 |  | 1278.9034 | 9262.88
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 36012.5844 | 20 | 4988.39 |  | 2932.39 | 19403.93
Includes CFE, CISO & LDWP
WI TOTAL |  | 119889.4552 | 19 | 20047.3209 |  | 7933.4839 | 47840.62
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 67244 | 17 | 17559
SRSG |  | 19271 | 18 | 4884
CAMX* |  | 36162 | 20 | 5367
WI TOTAL |  | 122343 | 17 | 30022
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
2025-06-04 | WACM | Path 31 |  | 4 | 1

## Map
Weather Information
Calgary, AB
High (F) | 77.7
Low (F) | 50.2
Sunny |  | 65107.6096 | 71.79% | 71.79% | 28.21% | 65,108 MW
|  | 19675.4362 | 66.4% | 66.4% | 33.6% | 19,675 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 82.8 | 36012.5844 | 58.65% | 58.65% | 41.35% | 36,013 MW
Low (F) | 53.6
Partly Cloudy
Billings, MT
High (F) | 73
Low (F) | 39
Sunny
Loveland, CO
High (F) | 75.6
Low (F) | 52.7
Patchy rain nearby
Los Angeles, CA
High (F) | 69.3
Low (F) | 60.1
Partly Cloudy
Phoenix, AZ
High (F) | 102
Low (F) | 74.7
Sunny
Salt Lake City, UT
High (F) | 76.6
Low (F) | 44.6
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
65,108 MW
19,675 MW
36,013 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend