## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-06-11
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 90.9 |  | 67.8 |  | 64.6 | 92.5
Low: |  | 53.4 |  | 55.8 |  | 54.9 | 72.1
Conditions: |  | Sunny |  | Overcast |  | Partly Cloudy | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 73246.6381 | 17 | 13584.7875 |  | 4761.0315 | 21549.24
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 22173.4018 | 18 | 1480 |  | 1441.2711 | 9595.5
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 38522.0703 | 20 | 4818.82 |  | 3035.82 | 18635.69
Includes CFE, CISO & LDWP
WI TOTAL |  | 132389.9597 | 18 | 19779.6683 |  | 8110.0041 | 48759.43
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 80074 | 16 | 15429
SRSG |  | 22620 | 17 | 4494
CAMX* |  | 38466 | 18 | 6843
WI TOTAL |  | 140578 | 17 | 25532
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 67.8
Low (F) | 55.8
Overcast |  | 73246.6381 | 80.76% | 80.76% | 19.24% | 73,247 MW
|  | 22173.4018 | 74.83% | 74.83% | 25.17% | 22,173 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 70.5 | 38522.0703 | 62.74% | 62.74% | 37.26% | 38,522 MW
Low (F) | 49.5
Partly Cloudy
Billings, MT
High (F) | 86.5
Low (F) | 57.4
Moderate rain
Loveland, CO
High (F) | 91.4
Low (F) | 59
Cloudy
Los Angeles, CA
High (F) | 72.9
Low (F) | 60.3
Partly Cloudy
Phoenix, AZ
High (F) | 103.8
Low (F) | 77.9
Sunny
Salt Lake City, UT
High (F) | 95.5
Low (F) | 55.2
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
73,247 MW
22,173 MW
38,522 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend