## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-06-13
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 91.4 |  | 72.9 |  | 63 | 86.7
Low: |  | 53.4 |  | 53.4 |  | 50.4 | 68.9
Conditions: |  | Sunny |  | Patchy rain nearby |  | Partly Cloudy | Heavy rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 68937.3219 | 17 | 13496.9802 |  | 4388.8732 | 19501.16
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 22136.7066 | 17 | 1689 |  | 1438.8859 | 8859.46
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 36440.1163 | 20 | 4951.48 |  | 2920.48 | 18535.54
Includes CFE, CISO & LDWP
WI TOTAL |  | 125765.4783 | 18 | 20219.296 |  | 8389.879 | 45859.16
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 72617 | 16 | 19095
SRSG |  | 23822 | 17 | 6518
CAMX* |  | 36522 | 18 | 6661
WI TOTAL |  | 132428 | 17 | 31656
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 72.9
Low (F) | 53.4
Patchy rain nearby |  | 68937.3219 | 76.01% | 76.01% | 23.99% | 68,937 MW
|  | 22136.7066 | 74.71% | 74.71% | 25.29% | 22,137 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 64.4 | 36440.1163 | 59.35% | 59.35% | 40.65% | 36,440 MW
Low (F) | 47.8
Partly Cloudy
Billings, MT
High (F) | 85.3
Low (F) | 53.1
Partly Cloudy
Loveland, CO
High (F) | 89.4
Low (F) | 53.2
Sunny
Los Angeles, CA
High (F) | 65.5
Low (F) | 59.4
Partly Cloudy
Phoenix, AZ
High (F) | 108.9
Low (F) | 80.2
Sunny
Salt Lake City, UT
High (F) | 95
Low (F) | 54.5
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
68,937 MW
22,137 MW
36,440 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend