## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-06-16
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 90.3 |  | 80.2 |  | 68.4 | 88.9
Low: |  | 55.6 |  | 46 |  | 52.9 | 71.1
Conditions: |  | Sunny |  | Partly Cloudy |  | Overcast | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 72676.1305 | 17 | 13723.2509 |  | 4678.6659 | 18553.81
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 24887.9953 | 18 | 1396 |  | 1617.7197 | 8687.84
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 40271.252 | 19 | 4671.75 |  | 3116.75 | 18762.55
Includes CFE, CISO & LDWP
WI TOTAL |  | 136902.5964 | 18 | 19745.2349 |  | 8972.3798 | 45224.2
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 72406 | 17 | 16526
SRSG |  | 25818 | 17 | 4279
CAMX* |  | 38899 | 18 | 6324
WI TOTAL |  | 136502 | 18 | 25836
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 80.2
Low (F) | 46
Partly Cloudy |  | 72676.1305 | 80.13% | 80.13% | 19.87% | 72,676 MW
|  | 24887.9953 | 84% | 84% | 16% | 24,888 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 73.2 | 40271.252 | 65.59% | 65.59% | 34.41% | 40,271 MW
Low (F) | 51.5
Overcast
Billings, MT
High (F) | 80.2
Low (F) | 55.8
Cloudy
Loveland, CO
High (F) | 95.4
Low (F) | 56.1
Sunny
Los Angeles, CA
High (F) | 73
Low (F) | 60.4
Partly Cloudy
Phoenix, AZ
High (F) | 113.9
Low (F) | 77.4
Sunny
Salt Lake City, UT
High (F) | 92.8
Low (F) | 54
Partly Cloudy
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
72,676 MW
24,888 MW
40,271 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend