## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-06-18
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 104.7 |  | 81.5 |  | 64 | 94.3
Low: |  | 61.5 |  | 48.7 |  | 54.6 | 77.4
Conditions: |  | Sunny |  | Partly Cloudy |  | Partly Cloudy | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 73022.6552 | 18 | 15199.1104 |  | 4520.8707 | 18632.55
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 24672.4637 | 18 | 1315 |  | 1603.7101 | 9371.7
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 43877.4982 | 19 | 5340.78 |  | 3339.78 | 19183.43
Includes CFE, CISO & LDWP
WI TOTAL |  | 140883.8625 | 18 | 21937.6104 |  | 9072.0907 | 46119.68
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 74670 | 16 | 17008
SRSG |  | 25257 | 18 | 3823
CAMX* |  | 42638 | 18 | 6607
WI TOTAL |  | 141999 | 17 | 27511
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
Weather Information
Calgary, AB
High (F) | 81.5
Low (F) | 48.7
Partly Cloudy |  | 73022.6552 | 80.51% | 80.51% | 19.49% | 73,023 MW
|  | 24672.4637 | 83.27% | 83.27% | 16.73% | 24,672 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 65.8 | 43877.4982 | 71.46% | 71.46% | 28.54% | 43,877 MW
Low (F) | 49.5
Patchy rain nearby
Billings, MT
High (F) | 86.7
Low (F) | 46.9
Sunny
Loveland, CO
High (F) | 82.8
Low (F) | 51.1
Sunny
Los Angeles, CA
High (F) | 75.9
Low (F) | 60.6
Partly Cloudy
Phoenix, AZ
High (F) | 114.1
Low (F) | 78.3
Sunny
Salt Lake City, UT
High (F) | 92.8
Low (F) | 50
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
73,023 MW
24,672 MW
43,877 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend