## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-06-25
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 99.3 |  | 76.8 |  | 62.4 | 97
Low: |  | 56.5 |  | 48 |  | 55.8 | 76.6
Conditions: |  | Sunny |  | Patchy rain nearby |  | Overcast | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 70393.126 | 18 | 15741.946 |  | 4463.62 | 19863.12
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 20872.4378 | 18 | 1946 |  | 1356.7085 | 8017.47
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 37236.7197 | 20 | 5168.32 |  | 2975.32 | 17798.8
Includes CFE, CISO & LDWP
WI TOTAL |  | 127529.8394 | 19 | 22274.1842 |  | 8449.7182 | 44648.39
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 73369 | 17 | 18341
SRSG |  | 21126 | 17 | 5824
CAMX* |  | 35811 | 18 | 6313
WI TOTAL |  | 129777 | 17 | 30435
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 76.8
Low (F) | 48
Patchy rain nearby |  | 70393.126 | 77.62% | 77.62% | 22.38% | 70,393 MW
|  | 20872.4378 | 70.44% | 70.44% | 29.56% | 20,872 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 68.7 | 37236.7197 | 60.65% | 60.65% | 39.35% | 37,237 MW
Low (F) | 54.1
Overcast
Billings, MT
High (F) | 84.4
Low (F) | 50
Sunny
Loveland, CO
High (F) | 76.5
Low (F) | 54.5
Overcast
Los Angeles, CA
High (F) | 65.8
Low (F) | 59.7
Partly Cloudy
Phoenix, AZ
High (F) | 105.8
Low (F) | 73.6
Sunny
Salt Lake City, UT
High (F) | 85.1
Low (F) | 50.9
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
70,393 MW
20,872 MW
37,237 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend