## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-06-26
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 100.2 |  | 74.3 |  | 58.3 | 97.5
Low: |  | 60.4 |  | 49.5 |  | 54.5 | 74.5
Conditions: |  | Sunny |  | Thundery outbreaks in nearby |  | Patchy rain nearby | Moderate rain
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 71835.1799 | 17 | 14794.6236 |  | 4415.9676 | 18946.98
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 21952.7384 | 18 | 1800 |  | 1426.928 | 9477.63
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 38680.7642 | 20 | 5072.4 |  | 3024.4 | 18387.91
Includes CFE, CISO & LDWP
WI TOTAL |  | 131448.4677 | 19 | 21249.5992 |  | 8464.4732 | 45869.52
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 73770 | 17 | 18519
SRSG |  | 21349 | 17 | 5005
CAMX* |  | 38265 | 18 | 6309
WI TOTAL |  | 133075 | 17 | 30084
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration
|  | Path |  | 4

## Map
95
Weather Information
Calgary, AB
High (F) | 74.3
Low (F) | 49.5
Thundery outbreaks in nearby |  | 71835.1799 | 79.21% | 79.21% | 20.79% | 71,835 MW
|  | 21952.7384 | 74.09% | 74.09% | 25.91% | 21,953 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 66.9 | 38680.7642 | 63% | 63% | 37% | 38,681 MW
Low (F) | 54.6
Overcast
Billings, MT
High (F) | 91
Low (F) | 49.6
Sunny
Loveland, CO
High (F) | 88
Low (F) | 51.4
Sunny
Los Angeles, CA
High (F) | 73
Low (F) | 60.6
Partly Cloudy
Phoenix, AZ
High (F) | 108.9
Low (F) | 74.1
Sunny
Salt Lake City, UT
High (F) | 92.5
Low (F) | 49.8
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
71,835 MW
21,953 MW
38,681 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend