## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-06-30
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 101.1 |  | 84 |  | 79 | 100
Low: |  | 64.4 |  | 54.7 |  | 60.1 | 79.7
Conditions: |  | Sunny |  | Sunny |  | Sunny | Sunny
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 78893.3349 | 18 | 11861.7761 |  | 4773.7571 | 18030.18
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 25829.3563 | 18 | 1889 |  | 1678.9082 | 7812.79
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 42691.0207 | 19 | 5049.96 |  | 3248.96 | 17089.66
Includes CFE, CISO & LDWP
WI TOTAL |  | 146578.2213 | 18 | 18529.2161 |  | 9320.5271 | 41962.63
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 77872 | 17 | 17595
SRSG |  | 25993 | 17 | 4087
CAMX* |  | 40818 | 18 | 6254
WI TOTAL |  | 144066 | 18 | 26733
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 84
Low (F) | 54.7
Sunny |  | 78893.3349 | 86.99% | 86.99% | 13.01% | 78,893 MW
|  | 25829.3563 | 87.17% | 87.17% | 12.83% | 25,829 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 96.4 | 42691.0207 | 69.53% | 69.53% | 30.47% | 42,691 MW
Low (F) | 63.5
Sunny
Billings, MT
High (F) | 86
Low (F) | 52
Sunny
Loveland, CO
High (F) | 82.6
Low (F) | 58.1
Patchy rain nearby
Los Angeles, CA
High (F) | 72.9
Low (F) | 61.2
Partly Cloudy
Phoenix, AZ
High (F) | 118.9
Low (F) | 82.9
Sunny
Salt Lake City, UT
High (F) | 97.7
Low (F) | 53.2
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
78,893 MW
25,829 MW
42,691 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend