## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-07-01
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 103.1 |  | 88 |  | 73.8 | 96.1
Low: |  | 62.4 |  | 55.4 |  | 60.4 | 79
Conditions: |  | Sunny |  | Sunny |  | Sunny | Partly Cloudy
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 80289.8483 | 17 | 9878.2767 |  | 5218.8401 | 19038.5
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 24676.0087 | 17 | 1613 |  | 1603.9406 | 8005.33
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 42326.2354 | 19 | 5049.84 |  | 3227.84 | 18157.15
Includes CFE, CISO & LDWP
WI TOTAL |  | 145866.7335 | 18 | 16540.0295 |  | 9145.9205 | 44171.98
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 85239 | 17 | 14497
SRSG |  | 26487 | 15 | 4698
CAMX* |  | 43456 | 18 | 6680
WI TOTAL |  | 154852 | 17 | 24690
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 88
Low (F) | 55.4
Sunny |  | 80289.8483 | 88.53% | 88.53% | 11.47% | 80,290 MW
|  | 24676.0087 | 83.28% | 83.28% | 16.72% | 24,676 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 88.2 | 42326.2354 | 68.94% | 68.94% | 31.06% | 42,326 MW
Low (F) | 59.4
Partly Cloudy
Billings, MT
High (F) | 96.4
Low (F) | 54
Sunny
Loveland, CO
High (F) | 88.9
Low (F) | 55
Partly Cloudy
Los Angeles, CA
High (F) | 72.5
Low (F) | 60.4
Partly Cloudy
Phoenix, AZ
High (F) | 115.9
Low (F) | 86
Sunny
Salt Lake City, UT
High (F) | 100.2
Low (F) | 57.6
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
80,290 MW
24,676 MW
42,326 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend