## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-07-07
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 100 |  | 79.7 |  | 79.3 | 100
Low: |  | 59.5 |  | 50 |  | 59.5 | 81.7
Conditions: |  | Sunny |  | Sunny |  | Sunny | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 79023.8389 | 18 | 11176.6626 |  | 5136.5495 | 19255.1
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 24988.469 | 18 | 2109 |  | 1624.2505 | 8402.63
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 40890.8692 | 19 | 4794.39 |  | 3140.39 | 17225.85
Includes CFE, CISO & LDWP
WI TOTAL |  | 143669.1672 | 18 | 18221.0226 |  | 9074.8756 | 43834.58
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 77253 | 17 | 17407
SRSG |  | 24805 | 17 | 5164
CAMX* |  | 38679 | 18 | 5562
WI TOTAL |  | 140091 | 17 | 28295
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 79.7
Low (F) | 50
Sunny |  | 79023.8389 | 87.13% | 87.13% | 12.87% | 79,024 MW
|  | 24988.469 | 84.34% | 84.34% | 15.66% | 24,988 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 92.8 | 40890.8692 | 66.6% | 66.6% | 33.4% | 40,891 MW
Low (F) | 59.5
Sunny
Billings, MT
High (F) | 85.6
Low (F) | 54
Sunny
Loveland, CO
High (F) | 89.8
Low (F) | 54.7
Sunny
Los Angeles, CA
High (F) | 67.5
Low (F) | 60.6
Partly Cloudy
Phoenix, AZ
High (F) | 112.6
Low (F) | 84.7
Sunny
Salt Lake City, UT
High (F) | 96.1
Low (F) | 53.6
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
79,024 MW
24,988 MW
40,891 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend