## Sheet1
WECC Interconnection Daily Status Report
Date: | 2025-07-08
Weather Information For RC Centers
|  | Folsom, CA |  | Calgary, AB |  | Vancouver, BC | Little Rock, AR
High: |  | 95 |  | 88.9 |  | 68 | 93.2
Low: |  | 56.1 |  | 57.4 |  | 58.8 | 75.4
Conditions: |  | Sunny |  | Sunny |  | Moderate rain | Patchy rain nearby
Forecasted Simultaneous Peaks, Reserves and Generation Limitations
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Forecasted Reserves |  | Req. Reserves | Total Gen Outages
NW |  | 82138.6615 | 17 | 12636.04 |  | 4962.289 | 22028.73
Includes AESO, AVA, AVRN, BANC, BCHA, BPA, CHPD, DOPD, GCPD, GRID, GWA, IPCO, NVE, NWMT, PACE, PACW, PGE, PSCO, PSEI, SCL, TID, TPWR, WACM, WAUW & WWA
DSW |  | 25776.2412 | 18 | 1930 |  | 1675.4557 | 8890.67
Includes AZPS, DEAA, EPE, GRIF, HARQ, IID, PNM, SRP, TEPC & WALC
CAMX* |  | 42905.2727 | 19 | 4748.97 |  | 3260.97 | 18411.06
Includes CFE, CISO & LDWP
WI TOTAL |  | 149663.7413 | 18 | 19767.6275 |  | 9466.5665 | 48180.46
Yesterday's Actual Simultaneous Peaks and Reserves
by Reserve Sharing Group (RSG) * BA's in California and Mexico that are not participants in an RSG
Area |  | Peak Load | Time | Actual Reserves
NWPP RSG |  | 84890 | 17 | 14330
SRSG |  | 25260 | 17 | 5149
CAMX* |  | 41394 | 18 | 6403
WI TOTAL |  | 151021 | 17 | 25600
WECC PATH LIMITATIONS
PATH NAME |  |  | Dir | Seasonal OTC |  | Path Limitations* | ETR
Path 1: (Alberta-BCHA) |  |  | E>W | 1000 MW*
|  |  | W>E | 1200 MW*
Path 3: (PNW-BCHA) |  |  | N>S | 3150 MW*
|  |  | S>N | 3000 MW*
Path 8: (Montana-PNW) |  |  | E>W | 2200 MW
|  |  | W>E | 1350 MW
Path 14: (Idaho-PNW) |  |  | E>W | 2400 MW
|  |  | W>E | 1200 MW
Path 15: (Midway-Los Banos) |  |  | N>S | 3265 MW
|  |  | S>N | 5400 MW
Path 26: (Northern-Southern California) |  |  | N>S | 4000 MW
|  |  | S>N | 3000 MW
Path 31: (TOT 2A) |  |  | N>S | 690 MW *
|  |  | S>N | not defined
Path 35: (TOT 2C) |  |  | N>S | 400 MW
|  |  | S>N | 580 MW
Path 46: (West Of River) |  |  | E>W | 11200 MW
|  |  | W>E | not rated
Path 49: (East Of River) |  |  | E>W | 10100 MW *
|  |  | W>E | not rated
Path 65: (Pacific DC Intertie) |  |  | N>S | 3210 MW
|  |  | S>N | 2200 MW
Path 66: (California- Oregon Intertie) |  |  | N>S | 4800 MW
|  |  | S>N | 3675 MW
Path 78: (TOT 2B1) |  |  | N>S | 625 MW
|  |  | S>N | 650 MW
Path 79: (TOT 2B2) |  |  | N>S | 250 MW
|  |  | S>N | 300 MW
*The individual OASIS sites should be consulted for exact times and path limits
Recent Unscheduled Flow (USF) Activity (previous 24 hours =>Level 4 Only):
WECC Reliability Coordinator
Date | Balancing Authority or Path Operator | Flowgate or Qualifying Path |  | Highest Level | Duration

## Map
95
Weather Information
Calgary, AB
High (F) | 88.9
Low (F) | 57.4
Sunny |  | 82138.6615 | 90.57% | 90.57% | 9.434% | 82,139 MW
|  | 25776.2412 | 86.99% | 86.99% | 13.01% | 25,776 MW
Vancouver, WA |  | 11349 | 87.12% | 87.12% | 12.88% | 11,349 MW
High (F) | 87.3 | 42905.2727 | 69.88% | 69.88% | 30.12% | 42,905 MW
Low (F) | 57.2
Sunny
Billings, MT
High (F) | 97.7
Low (F) | 55.9
Sunny
Loveland, CO
High (F) | 95.4
Low (F) | 58.5
Sunny
Los Angeles, CA
High (F) | 76.5
Low (F) | 60.4
Partly Cloudy
Phoenix, AZ
High (F) | 110.3
Low (F) | 84
Sunny
Salt Lake City, UT
High (F) | 98.8
Low (F) | 55.6
Sunny
2020-04-26
2020-04-22
2020-04-23
2020-04-25
2020-04-25
82,139 MW
25,776 MW
42,905 MW
Left Bar: Represents required reserve
Right bar: Represents today's forecasted reserve
Pie represents today's forecasted load as a percentage of seasonal peak load
Represents today's projected peak load
Diagram Legend